Continues Assessment Sheet for Apprentice – Accredited Center (Company)

LEARN AND WORK ASIGNMENT (LWA)

| Sub Sector | ELECTRICAL POWER |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Training Occupation / Job Area | ELECTRICAL INSTALLATION & MAINTENANCE (SINGLE PHASE & THREE PHASE) (NOSS: EE-320-2/3: 2012) |  |  |  |  |  |  |  |  |  |  |  |  |
| Competency Unit Title | THREE PHASE MOTOR & MOTOR CONTROL INSTALLATION |  |  |  |  |  |  |  |  |  |  |  |  |
| Competency Unit Descriptor | Three phase motor and motor control installation is an activity that covers the competency requirements for the installation of Three phase motor and motor control based on installation specification and procedures in accordance with Electrical Act 1990, Electrical Regulation 1994 and other related rules and regulations body and statutory requirements. The personnel who are competent in the three phase motor and motor control must be able to interpret installation manuals and procedures, carry out three phase motor and motor control installation, inspect three phase motor and motor control functionality and to conduct continuity, polarity, insulation resistance and earthing resistance testing. |  |  |  |  |  |  |  |  |  |  |  |  |
| Competency Unit Code |  | Competency Type |  | Elective | Level |  | 3 |  | Duration | 70 |  | Credit Hours |  |
| Social Values & Social Skills: | Compliance - Conceptual skills - Learning skills |  | Self-reliance - Learning skills - Multitasking and prioritizing |  |  | Cooperation - Communication skills - Interpersonal skills - Teamwork |  |  |  |  | Punctuality - Leadership skills - Self-discipline |  |  |
| Tools/ Technologies, Equipment and Materials (TEM) |  |  |  |  |  |  |  | Ratio (TEM : Apprentices) |  |  |  |  |  |
| - Schematic diagram - Block Diagram - Measuring and Test Instruments - Components/Parts Specification - Distribution Boards - Trunking Tools - Equipment Data Book - Electrical Equipment - Electrical hand tools - Electrical Mechanical tools - Electrical power tools - Electrical Accessories - Electrical Fittings - Electrical Testing Instrument - Double Insulated cable - Wiring lead - Wiring neil - Cables - PVC Tape - Standard Operating Procedure |  |  |  |  |  |  |  | 1 : 1 1 : 1 1 : 1 1 : 1 1 : 2 1 : 1 1 : 1 1 : 1 1 : 1 1 : 1 1 : 1 1 : 1 1 : 1 1 : 1 1 : 1 1 : 1 1 : 1 1 : 1 1 : 1 1 : 1 |  |  |  |  |  |
| References/ Information Source |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Stephen Rahman. (2000). Industrial Motor Control. Cengage Learning - Undang-Undang Malaysia. 2005. Akta Bekalan Elektrik 1990 dan Peraturan-Peraturan Elektrik 1994, Pindaan sehingga 2005. MDC Publisher Sdn Bhd Malaysia. - Suruhanjaya Tenaga Malaysia. Standard Pendawaian Malaysia (Electrical Installations Of Buildings - MS IEC 60364) Jabatan Standard Malaysia - The Institution of Electrical Engineers, 1998, Peraturan-Peraturan bagi Pemasangan Elektrik, Edisi 16. Golden Books Centre Sdn Bhd - BS 7671: 2001 Requirements for Electrical Installations (IEE Wiring Regulations, Sixteenth Edition) Institution of Electrical Engineers |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Instructions, Guiding Questions & Hints Use the following instructions, guiding questions and hints in assisting you to complete the above assignment - Setting Goal: Identify three phase motor & motor control installation specifications according to customer requirement - Determine type and rating of three phase motor. - Determine quantity of three phase motor. - Determine function of three phase motor to be installed (conveyer, auto gate, water pump). - Identify type of three phase motor control and accessories (E.g.: DOL starters, forward reverse starter, soft starter, star-delta, auto trans., rotor resistance- slip ring). - Identify location to install the motor. - Identify power supply source requirement for the motor: - Ensure size of cable - Ensure size of Isolator - Determine three phase control circuit components and accessories - Determine protection system as required - Determine magnetic contactor and overload relay - Determine single phasing relay/ anti reverse / under voltage/ over voltage relay - Determine earth leakage relay - Planning: Plan three phase motor and motor control installation requirement - Interpret the single line motor control diagram to - Identify sources for the motor control - Identify motor connection - Identify three phase motor & motor control tools and materials - Identify three phase motor & motor control testing equipment - Identify manpower requirement for installation work - Identify time frame for installation (project duration) - Schedule the activities of the installation. - Identify Logistic: - handling procedure to transfer the motor - type of transport - storage on site of motor - Make sure portray the attitude and adhere to the safety listed below when performing this cycle’s activities. Attitude: - Comply to rules and regulation - Meticulous in read and interpreter diagram Safety: - Use PPE properly - Adhere to electrical Act & regulation - Decision Making: Prepare three phase motor and motor control installation requirement by present the work plan to coach before executing the assignment - Ensure the information of installation confirm by interpreted the selected single line motor control diagram - Identify sources for the motor control - Identify motor connection - Select three phase motor & motor control tools and materials - Select three phase motor & motor control testing equipment - Select the manpower required for installation work - Ensure the time frame for installation (project duration) - Make sure the scheduled of installation activities within the project requirement. - Select Logistic: - Executing and Monitoring: Perform three phase motor & motor control installation - Draw three phase motor control diagram. - Install three phase motor control - Assemble the drew diagram of motor control - Perform motor control circuit test to ensure the functional - Install three phase motor according to the manual at the location - Couple the motor to the load (Conveyer, auto gate, water pump, Compressor) - alignment the motor - Connect the terminal motor to motor control. - Ensure the connection according to cable colour code/ mark - Ensure the connection according to phase sequence (RYB) - Fix components and accessories of motor; - cable lug - flexible conduit& it accessories - cable gland - earth continuity conductor. - Make sure portray the attitude and adhere to the safety listed below when performing this cycle’s activities. Attitude: - Adhere to safety regulation - Meticulous in read and record data Safety: - Use PPE properly - Safety tools & equipment in proper order - Comply electrical Act & regulation - Comply Act 514 (OSHA) - Used a proper hand tools - Adhere maintenance procedure - Code of ethics - Evaluating: Evaluate the performance of the installed motor with your coach - Perform motor & motor control installation test- Off line/ dead circuit test - Conduct insulation test - Conduct continuity test - Conduct polarity test - Conduct earthing test - Perform unload test to check the motor performance according to specification: - Check Speed - Measure Current - Rotation test - Rectify the motor if the performance not according to specification - Perform on load test to check the motor performance according to specification: - Check Speed - Measure current - Check & set Rating Protection devices - Rectify the motor if the performance not according to specification - Prepare three phase motor and motor control installation report - Carry out housekeeping activities - Label motor and motor control - Make sure portray the attitude listed below when performing this cycle’s activities. Attitude: - Neatness - Meticulous in writing report |  |  |  |  |  |  |  |  |  |  |  |  |  |