## Muka Depan
PENILAIAN BERTERUSAN PRAKTIKAL
(LWA)
NOSS | THREE PHASE ELECTRICAL INSTALLATION AND MAINTENANCE
(CODE NOSS) | (EE-320-3:2012)
Competency Unit Title | THREE PHASE WIRING | LEVEL | 3
(CU CODE) | (EE-320-3:2012 C02)
Competency Unit Descriptor | Three phase wiring covering the scope of competency to carry out wiring activities for Three Phase based on drawing given by utilizing wiring tools, equipment and materials in compliance with Electrical Act 1990, Electrical Regulation 1994 and other related rules and regulations body and statutory requirements. The personnel who are competent in the three phase electrical wiring must be able to interpret three phase wiring specifications and procedures, three phase wiring requirement, carry out wiring activities, earthing system installation and carry out continuity, polarity, insulation and resistance testing on the three phase wiring system.
Candidate Name
Candidate I/C Number
Company’s Name
Assessment Date |  | Total Marks

## Evaluating
PENILAIAN BERTERUSAN PRAKTIKAL
|  | MARKS GIVEN BY APPRENTICE |  |  |  |  | MARKS GIVEN BY COACH
A | ASSESSMENT CRITERIA (60%) | 0 | 1 - 2 | 3 - 4 | 5 - 6 | 7 | 0 | 1 - 2 | 3 - 4 | 5 - 6 | 7
1 | Wiring route and inspection fitting and accessories corrected
2 | Correct various type of tools, devices and cables used
3 | Wiring activities conducted according to correct Rules and Procedures
4 | Installation and connection wiring identified
5 | All the earthing cable connected to frame earthing correctly
6 | Three phase earthing system conducted and tested
7 | Neatness of wiring checked
8 | Cable terminated at consumer unit as per standards
9 | Cable terminated to fitting and accessories
10 | Visual inspection conducted
11 | Fault identified
12 | Continuity, polarity, insulation resistance and earthing tested
13 | ELCB/RCCB function and operations tested as per requirements
14 | Supply voltage tested as per requirements
15 | Procedure to produce installation testing and commision documentations as per requirments
| SUBTOTAL |  |  | 0 |  |  |  |  | 0
| FULL MARKS |  |  | 105 |  |  |  |  | 105
|  | MARKS GIVEN BY APPRENTICE |  |  |  |  | MARKS GIVEN BY COACH
B | ATTITUDE/ SAFETY/ ENVIRONMENT (20%) | 0 | 1 - 2 | 3 - 4 | 5 - 6 | 7 | 0 | 1 - 2 | 3 - 4 | 5 - 6 | 7
1 | Attitude
2 | Safety
| SUBTOTAL |  |  | 0 |  |  |  |  | 0
| FULL MARKS |  |  | 14 |  |  |  |  | 14
|  | MARKS GIVEN BY APPRENTICE |  |  |  |  | MARKS GIVEN BY COACH
C | EMPLOYABILITY SKILLS (SOCIAL SKILLS) (20%) | 0 | 1 - 2 | 3 - 4 | 5 - 6 | 7 | 0 | 1 - 2 | 3 - 4 | 5 - 6 | 7
1 | Communication skills
2 | Conceptual skills
3 | Interpersonal skills
4 | Learning skills
5 | Leadership skills
6 | Multitasking and prioritizing
7 | Self-discipline
8 | Teamwork
| SUBTOTAL |  |  | 0 |  |  |  |  | 0
| FULL MARKS |  |  | 56 |  |  |  |  | 56

## Calculation Table
CALCULATION TABLE
| MARKS GIVEN BY APPRENTICE | MARKS GIVEN BY COACH | WEIGHTED MARKS GIVEN BY APPRENTICE | WEIGHTED MARKS GIVEN BY COACH
ASSESMENT CRITERIA | 0 | 0 | 0 | 0
ATTITUDE/SAFETY/ ENVIRONMENT | 0 | 0 | 0 | 0
EMPLOYABILITY SKILLS (SOCIAL SKILLS) | 0 | 0 | 0 | 0
Total |  |  | 0 | 0
Ratio of Percentage (Apprentice: Coach) |  |  | 20% | 80%
Grand Total (%) |  |  | 0
COMMENTS/ RECOMMENDATIONS BY COACH
_________________________ |  |  | ______________________
COACH: |  |  | APPRENTICE:
DATE: |  |  | DATE:
Note on C5: A1
Note on D5: A2
Note on E5: CALCULATION: = A1/FULL MARKS X 60
Note on F5: CALCULATION: =A2/FULL MARKS X 60
Note on C6: B1
Note on D6: B2
Note on E6: CALCULATION: =B1/FULL MARKS X 20
Note on F6: CALCUATION: =B2/FULL MARKS X 20
Note on C7: C1
Note on D7: C2
Note on E7: CALCULATION: =C1/FULL MARKS X 20
Note on F7: CALCULATION: =C2/FULL MARKS X 20
Note on E9: Nisbah peratusan Perantis:Coach, 20:80 (Tetap)