| TRAINING OCCUPATION: ELECTRICAL INSTALLATION & MAINTENANCE (SINGLE PHASE & THREE PHASE) (NOSS: EE-320-2/3: 2012) |  |  |
| --- | --- | --- |
| CWP 5: ELECTRICAL MAINTENANCE & TROUBLESHOOTING |  |  |
| CU 5.3 : SINGLE PHASE ELECTRICAL APPLIANCES MAINTENANCE |  | CODE: |
| Work Activity 1 | Identify electrical appliances maintenance requirement, specification and manuals | Duration: 4 Hours |
| Learning Objectives At the end of learning session the apprentice will be able to: - List types of single phase home appliances, such as; - Microwave - Oven - Iron - Lamp - Single Phase Air Conditioning - Water Heater - Refrigerator - Single phase motor - Explain single phase electrical appliances faults, such as: - Short circuit - Open circuit - Loose contact - Board faulty - Earth fault/ Leakage - Explain single appliance appliances following specification, such as: - Appliances of Standard such as :- IEC, MS IEC, MS, BS - Energy Commission Act 2001 - Electricity Supply Act 1990 (Act 447) - Electrical Regulation 1994 - MS IEC 60364 - MS 1936:2006 guide to MS IEC 60364 - MS 1979:2007 Electrical Installation of Buildings – Code of Practice - Based on latest instruction by regulatory body - Explain maintenance of appliance according to Occupational Safety & Health Act 514 (OSHA) 1994. - Explain authorisation requirement to access site appliances, such as: - Green Card, - Safety passport. - Explain single phase appliances certification approval, such as: - Standard & Industrial Research Institute of Malaysia (SIRIM) - JKR LS |  |  |
| Work Activity 2 | Prepare single phase electrical appliances maintenance tools, equipment and materials | Duration: 4 Hours |
| Learning Objectives At the end of learning session the apprentice will be able to: - List type of single phase maintenance tools, equipment, materials and personal protective equipment (PPE). - List types of electrical cable used single phase appliances. - List types of electrical equipment and accessories for single phase appliances. - Explain operating procedure of single phase electrical testing instrument. - Explain calibration of single phase electrical testing instrumentation. - Explain electrical appliances manufacturer’s specification and operation manual. |  |  |
| Work Activity 3 | Carry out electrical appliances inspection | Duration: 6 Hours |
| Learning Objectives At the end of learning session the apprentice will be able to: - Explain to find out circuit diagram for single phase appliances. - Elaborate procedure to inspect single phase electrical appliances condition. - Explain single phase electrical appliances inspection procedure, such as: 3.1 Visual inspection, 3.2 Check/ Testing, 3.3 Test run. - Explain scope of single phase appliances inspection, such as: 4.1 Operation performance, 4.2 Structure/ body failure. - Describe single phase electrical appliances inspection checklist format. |  |  |
| Work Activity 4 | Carry out electrical appliances maintenance | Duration: 8 Hours |
| Learning Objectives At the end of learning session the apprentice will be able to: - Describe application of PPE for maintenance work of single phase appliances. - Explain single phase electrical appliances testing methods, such as: - Insulation - Continuity - Polarity - Earthing - Explain procedures to rectify single phase electrical appliances fault. - Explain single phase electrical appliances faulty part. - Explain to select suitable tools, equipment and material for maintenance work. - Elaborate single phase appliances electrical circuit diagram. - Describe replacement procedure for faulty parts of single phase electrical appliances. - Elaborate performance of single phase electrical appliances compare to specification technical data. |  |  |
| TOTAL (CU 3.3 : SINGLE PHASE ELECTRICAL APPLIANCES MAINTENANCE) |  | Duration: 22 Hours |